UCAM Function & Accuracy Report

Function

- ■People Counting

- □Occupancy

- □Path Linking

- File Name: 202119000179_C_2021_08_17_08_24_01.AVI

- Date & Time: 2021/08/17 08:24~09:24

- Location: Advantech Lobby

- Device: UCAM-130B

- Number: 1

- Door Type: Automatic

- Door Width: 2.6M

- Door Height: 2.5M

- Install Height: 2.8M

- Installation Photo:

Door:

UCAM:

- UCAM Accuracy：

|  | IN | OUT | Remark |
| --- | --- | --- | --- |
| Record | 305 | 72 |  |
| Actual | 303 | 71 |  |
| Accuracy | 99.34% | 98.61% |  |

- Issue Time

| Item | Time | Issue | Remark |
| --- | --- | --- | --- |
| 1 | 08:59:02 | IN+1 |  |
| 2 | 09:07:36 | IN +1 |  |
| 3 | 09:14:22 | OUT +1 |  |

- Description

There are few count In +1 because and hand, how can we fix it?